**SOLICITING LOW VOLTAGE NETWORK CABLING INSTALLATION BIDS**

Southeast Health District is seeking a quotation and pricing for a low voltage network cabling installation project to be performed in Ware County.

2 Cat 5e plenum data runs into a single duplex faceplate (average distance of 100 feet)  
Drops originate from host location and terminate at MDF/punch down patch panel  
Supply 3’ and 7’ patch cable for each data drop  
List labor per hour and equipment costs to include additional patch panels, cable management, data racks, equipment, etc.  
Label each drop on host and patch panel appropriately  
Test and verify each data drop  
Vendor must be licensed and insured

Please email and/or call Roger Bunch at [roger.bunch@dph.ga.gov](mailto:roger.bunch@dph.ga.gov) / 912-614-5298 for project details or to schedule a site visit.

Submit sealed bids by mail postmarked no later than December 12, 2018 to:

Southeast Health District  
Attn: Roger Bunch  
1101 Church St   
Waycross, Ga 31501